| Inquiry | Offer | Order |  |
| --- | --- | --- | --- |
| Reference number: |  |  | Project: |  |
| Issued by: |  |  | Shipment: |  |
| Date: |  |  | Forw. agent | Air freight |
| Delivery date: |  |  | Sea freight |  |
| Delivery address: |  |  |  |  |

|  |  |  |  |  |  |  |  |  |  | Order code |  | Euro/unit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Quantity: | GS part-turn gearboxes |  |  |  |  |  |

Size:

|  | 50.3 | 63.3 | 80.3 | 100.3 | 125.3 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Reduction ratio:

|  | Standard: | 51:1 | 52:1 | 53:1 | 126:1 | 160:1 | 208:1 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Special: | 82:1 | 107:1 |  |  |  |  |  |  |  |

Duty class:

|  | Motor operation | DC1 |  |  |
| --- | --- | --- | --- | --- |
|  | Infrequent motor operation | DC2 |  |  |
|  | Manual operation | DC3 |  |  |

Version:

|  | Standard: | RR | LL |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Option: | RL | LR |  |  |  |
| Basic price: |  |  |  |  |
| Size of valve attachment: |  |  |  |  |
|  | EN ISO 5211 | F05 | F07 | F10 | F12 | F14 | F16 | F25 | F30 |  |  |  |
|  | Special valve attachment |  |  |
|  | N (without spigot) | Y (with spigot) |  |  |
|  | with base and lever |  |  |  |
|  | 2 ball joints suitable for swing lever |  |  |  |
|  | Bore for locating pins Ø mm |  |  |

Coupling:

|  | UN (unbored) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 20 mm exceeding standard length | UNL |  |  |
|  | per 10 mm exceeding standard extension | xxL-xx |  |  |
|  | Bore according EN ISO 5211 with 1 keyway according to DIN 6885-1, diameter mm | KG |  |  |
|  | Bore according EN ISO 5211 with 2 keyways according to DIN 6885-1, diameter mm | KG-Nx/2- |  |  |
|  | Bore according EN ISO 5211 with 3 keyways according to DIN 6885-1, diameter mm | KG-Nx/3- |  |  |
|  | Bore according EN ISO 5211 with 4 keyways according to DIN 6885-1, diameter mm | KG-Nx/4- |  |  |
|  | x=pos. of keyways | A=180° | B=120° | C=90° | D=45° |  |  |  |
|  | Square bore according to EM ISO 5211, width across flats mm | SG |  |  |
|  | Two-flat bore according to EM ISO 5211, width across flats mm | DG |  |  |
|  | Special diameter for square bore or two-flat bore mm |  |  |  |
|  | Single-sided axial locking of coupling according to EN ISO 5211 | xxA-xx |  |  |

Swing angle:

|  | Standard between 10° and 100°, adjusted to 92° or ° |  |  |  |
| --- | --- | --- | --- | --- |
|  | End stop in OPEN, adjustable ° – ° |  |  |  |
|  | Multi-turn version, without end stops | D |  |  |
|  | Shaft ends without end stops on both sides | 2WE |  |  |

Material:

|  | Gearbox housing made of cast iron | GJL |  |  |
| --- | --- | --- | --- | --- |
|  | Gearbox housing made of spheroidal cast iron | GJS |  |  |
|  | Worm wheel made of spheroidal cast iron | GJS |  |  |
|  | Worm wheel made of bronze | BZ |  |  |

Gearbox input:

|  | Input shaft with parallel key according to DIN 6885-1 mm |  |  |  |
| --- | --- | --- | --- | --- |
|  | Input shaft made of stainless steel | -X |  |  |
|  | Flange for mounting multi-turn actuator | F_ _/G_ _ |  |  |

|  |  |  |  |  |  |  |  |  |  | Order code |  | Euro/unit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Applications:

|  | Weatherproof |  |  |  |
| --- | --- | --- | --- | --- |
|  | Potentially explosive atmosphere |  |  |  |
|  | Deviation from ATEX directive |  |  |  |
|  | ATEX | Important: Heed temperature version! |  |  |  |
|  | Standard: | II2G c IIC T4; II2D c T130°C |  |  |  |
|  | Option: | II2G c IIC T3; II2D c T190°C |  |  |  |
|  |  | IM2 c |  |  |  |

Temperature version:

|  | –40 °C to +80 °C |  |  |  |
| --- | --- | --- | --- | --- |
|  | –60 °C to +60 °C (extreme low temperature) | EL |  |  |
|  | 0 °C to +120 °C (high temperature) | H |  |  |

Temperature version for use in potentially explosive atmospheres

|  | Standard: | –40 °C to +60 °C (II2G c IIC T4; II2D c T130°C) |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Option: | –60 °C to +60 °C (II2G c IIC T4; II2D c T130°C) |  |  |  |
|  |  | –40 °C to +80 °C (II2G c IIC T3; II2D c T190°C) |  |  |  |
|  |  | –0 °C to +120 °C (II2G c IIC T3; II2D c T190°C) |  |  |  |
|  |  | –20 °C to +40 °C (IM2 c) |  |  |  |

Enclosure protection:

|  | IP68 up to max. 8 m head of water | IP68 |  |
| --- | --- | --- | --- |
|  | IP68 up to max. 20 m head of water | IP68-20 |  |

Housing cover:

|  | Pointer cover | Z |  |
| --- | --- | --- | --- |
|  | Sealed protection cover | SD |  |
|  | Sealed pointer cover | ZD |  |
|  | Sealed pointer cover and air vent valve | M10-D/V |  |

Corrosion protection:

|  | KN, suitable for installation in atmosphere with a low pollutant concentration | KN |  |  |
| --- | --- | --- | --- | --- |
|  | KS, suitable for use in areas with high salinity, almost permanent condensation, and high pollution. | KS |  |  |
|  | KX, suitable for use in areas with extremely high salinity, permanent condensation, and high pollution | KX |  |  |
|  | Aluminium-free version | G |  |  |

Colour:

|  | AUMA silver-grey (similar to RAL 7037) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Special colour |  |  |  |

Handwheel:

|  | Standard | Lockable | Special version | Chain wheel |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

Name plate:

|  | Language |  |  |  |
| --- | --- | --- | --- | --- |
|  | DE | EN | other |  |  |  |
|  | Material |  |  |  |
|  | AL | A2 | E1 |  |  |  |

SA/GS to be supplied separately:

Special features:

|  | Identification plate (KKS no. - Power Plant Classification System) | 99 |  |  |
| --- | --- | --- | --- | --- |
|  |  | Total price/unit |  |  |  |
|  |  | x Unit(s) |  |  |  |
|  |  | Total price |  |  |  |