| Enquiry | Offer | Order |  |
| --- | --- | --- | --- |
| Reference number: |  |  | Project: |  |
| Issued by: |  |  | Shipment: |  |
| Date: |  |  | Forw. agent | Air freight |
| Delivery date: |  |  | Sea freight |  |
| Delivery address: |  |  |  |  |

|  |  |  |  |  |  |  | Order code |  | Euro/unit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1-phase AC |  |  |  |  |
| Qty: | SVC open-close duty/type of duty | S2 - 15 min |  |  |  |  |
|  | SVCR modulating duty/type of duty | S4 - 40 % ED |  |  |  |  |

Size:

|  | 05.1 (max. 25 Nm) | 07.1 (max. 50 Nm) | 07.5 (max. 100 Nm) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Basic price: |  |  |  |  |

Certification:

|  | DNV-GL | DNV-GL |  |  |
| --- | --- | --- | --- | --- |
|  | RMRS | RMRS |  |  |
| Size of valve attachment: |  |  |  |  |
|  | EN ISO 5211 | F05/F07 | F07 |  |  |  |  |  |  |  |  |
|  | N (without spigot) | Y (with spigot) |  |  |

Output speed

|  | SVC/SVCR 05.1/07.1 | 1.6 | 2.2 | 3.2 | 4 | 5.6 | 8 | 11 | 16 | 22 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | SVC/SVCR 07.5 | 0.6 | 0.8 | 1.1 | 1.6 | 2.2 | 3.2 | 4 | 5.6 | 8 |  |  |  |  |

Coupling:

|  | Unbored | UN |  |  |
| --- | --- | --- | --- | --- |
|  | Unbored extended by mm | Lxx |  |  |
|  | Bore according EN ISO 5211 with 1 keyway according to DIN 6885-1, diameter mm | K |  |  |
|  | Bore according EN ISO 5211 with 2 keyways according to DIN 6885-1, diameter mm | K-Nx/2-xx |  |  |
|  | Bore according EN ISO 5211 with 3 keyways according to DIN 6885-1, diameter mm | K-Nx/3-xx |  |  |
|  | Bore according EN ISO 5211 with 4 keyways according to DIN 6885-1, diameter mm | K-Nx/4-xx |  |  |
|  | Square bore according to EM ISO 5211, width across flats mm | S |  |  |
|  | Two-flat bore according to EM ISO 5211, width across flats mm | D |  |  |
|  | Finish machining with bore and keyway, square bore or bore with two-flats mm |  |  |  |

Output drive:

|  | Stem nut (unbored or with pilot bore) | A-UN |  |  |
| --- | --- | --- | --- | --- |
|  | Finish machining trapezoidal thread (according to DIN 103 LH) | x-TR |  |  |
|  | Output drive A prepared for permanent lubrication | x-S |  |  |

Closing direction:

|  | Clockwise closing: | RH |  |  |
| --- | --- | --- | --- | --- |
|  | Counterclockwise closing | LH |  |  |

Setting:

|  | Turns/stroke | Torque CLOSE Nm | Torque OPEN Nm |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Tripping in end position CLOSED | Tripping in end position OPEN |  |  |  |
|  | Limit | Torque | Limit | Torque |  |  |  |

Corrosion protection:

|  | KS; Suitable for use in areas with high salinity, almost permanent condensation, and high pollution | KS |  |  |
| --- | --- | --- | --- | --- |
|  | KX: Suitable for use in areas with extremely high salinity, permanent condensation, and high pollution | KX |  |  |

Colour:

|  | AUMA silver-grey (similar to RAL 7037) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Special colour |  |  |  |
|  | Increased film thickness up to max. 300 µm |  |  |  |

Handwheel:

|  | Standard | Lockable |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

|  |  |  |  |  |  |  |  |  |  | Order code |  | Euro/unit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Motor:

|  | Voltage [V/Hz]: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1-phase AC | 115/50 | 115/60 | 230/50 | 230/60 |  | 1-ph |  |  |
|  | Insulation class: |  |  |  |
|  |  | Insulation class F | F |  |  |
|  |  | Insulation class H | H |  |  |

Power supply of electronics:

|  | Internal supply with 24 V DC | A10.01 |  |  |
| --- | --- | --- | --- | --- |
|  | Additional supply with 24 V DC, external (for I/O interface only) | A10.02 |  |  |
|  | Additional supply with 24 V DC, external via hybrid cable (fieldbus interface) | A10.04 |  |  |

I/O interface:

|  | Input signals: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | OPEN, STOP, CLOSE (open-close duty only) | R20.08 |  |  |
|  | OPEN, STOP, CLOSE, MODE in combination with adaptive positioner | R20.02 |  |  |
|  | OPEN, EMERGENCY, CLOSE, MODE in combination with adaptive positioner | R20.06 |  |  |
|  | Auxiliary voltage output: |  |  |  |  |  |  |  |
|  | 24 V DC, max. 40 mA for supply of the control inputs | A30.01 |  |  |
|  | Analogue input: |  |  |  |  |  |  |  |
|  | Without | F00.00 |  |  |
|  | Adaptive positioner with 0/4 – 20 mA input for position setpoint, S2 |  |  |  |
|  | Speed (operating time), S3 | F10.xx |  |  |
|  | Output contacts: |  |  |  |  |  |  |  |
|  | 2 NO contacts with one common (24 V DC/ 1A) 2 potential-free NO contacts (24 V DC/1 A) | H20.02 |  |  |
|  | Output contact assignment: |  |  |  |  |  |  |  |
|  | End position CLOSED, end position OPEN, selector switch in REMOTE, failure | S20.01 |  |  |
|  | Analogue output: |  |  |  |  |  |  |  |
|  | Position feedback signal 4 – 20 mA | P00.02 |  |  |
|  | Position feedback signal 0 – 20 mA | P00.01 |  |  |

Fieldbus interface:

|  | Profibus DP: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Profibus DP-V0 | D10.01 |  |  |
|  | Profibus DP-V0/V1 | D10.02 |  |  |
|  | Modbus RTU: |  |  |  |  |  |  |  |
|  | Modbus RTU (line topology) | D20.01 |  |  |
|  | Modbus RTU loop redundancy (loop topology) | D20.03 |  |  |
|  | Positioner: |  |  |  |  |  |  |  |
|  | Adaptive positioner | F30.01 |  |  |

Local controls:

|  | Mounted |  |  |  |
| --- | --- | --- | --- | --- |
|  | On wall bracket | L40.xx |  |  |
|  | Self-retaining LOCAL | with | without |  |  |  |

Electrical connection:

|  | AUMA plug/socket connector with max. 3 threaded holes |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 x M20 x 1.5 / 1 x M25 x 1.5 1 x M32 x 1.5 | S0-105 |  |  |
|  | 2 x M20 x 1.5 /1 x M25 x 1.5 | S0-070 |  |  |
|  | 1 x Pg 13,5; 1 x Pg 21; 1 x Pg 29 | S0-003 |  |  |
|  | 2 x ¾" NPT; 1 x 1¼" NPT | S0-080 |  |  |
|  | 2 x G ¾"; 1 x G 1¼" | S0-179 |  |  |
|  | Special version |  |  |  |
|  | AUMA plug/socket connector with max. 5 threaded holes |  |  |  |
|  | 1 x M20 x 1.5; 2 x M25 x 1.5; 1 x M32 x 1.5 | SH-148 |  |  |
|  | 1 x Pg 13.5; 2 x Pg 21; 1 x Pg 29 | SH-26 |  |  |
|  | 2 x ¾" NPT; 1 x 1" NPT; 1 x 1¼" NPT | SH-278 |  |  |
|  | 2 x G ¾"; 1 x G 1"; 1 x G 1¼" | SH-178 |  |  |
|  |  | Cable glands: |  |  |  |
|  |  | IP68, Ms/Ni, for Cu shielded cables, strain relief |  |  |  |
|  |  | x M20 x 1.5 clamping range Ø 7 mm to 12 mm | M20 |  |  |
|  |  | x M25 x 1.5 clamping range Ø 13 mm to 18 mm | M25 |  |  |
|  |  | x M32 x 1.5 clamping range Ø 18 mm to 25 mm | M32 |  |  |

|  |  |  |  |  |  |  |  |  |  | Order code |  | Euro/unit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Plug/socket connector – Phoenix version |  |  |  |
|  | I/O interface: 1 x control connector 19-pole; 1 x power connector 6-pole | S2-259 |  |  |
|  | Fieldbus interface: 2 x control connectors 5-pole; 1 x power connector 6-pole | S2-235 |  |  |
|  | Fieldbus interface: 1 x control connector 5-pole; 1 x power connector 6-pole (with Y- or T-connector) | S2-259 |  |  |
|  |  | Mating plug |  |  |  |
|  |  | Straight | 4301 |  |  |
|  |  | Angled version: with 90° mating connector | 4302 |  |  |
|  |  | Straight with T-connector | 4303 |  |  |
|  |  | Straight with Y-connector | 4304 |  |  |

Wiring diagram:

|  | TPC |  |  |  |
| --- | --- | --- | --- | --- |
|  | Special wiring |  |  |  |

Enclosure protection:

|  | IP68 | IP68 |  |  |
| --- | --- | --- | --- | --- |

Temperature version:

|  | –25 °C to +70 °C | N-25-70 |  |  |
| --- | --- | --- | --- | --- |

Name plate:

|  | Language |  |  |  |
| --- | --- | --- | --- | --- |
|  | DE | EN | Others |  |  |  |
|  | Material |  |  |  |
|  | AL | A2 |  |  |  |

Special features:

|  | Identification plate (KKS no. - Power Plant Classification System) | 99 |  |  |
| --- | --- | --- | --- | --- |
|  |  | Total price/unit |  |  |  |
|  |  | X units |  |  |  |
|  |  | Total price |  |  |  |